## Sheet1
Battery Bank Sizing
Fill in white cells
Average daily DC consumption
| for critical design month |  | Wh/day
| DC System voltage |  | VDC
| Autonomy |  | days
| Required Battery Bank Output | 0 | Ah
Allowable depth-of-discharge
| weighted operating time |  | hrs
| Discharge Rate | 0
| Min expected operating temp |  | oC
Temperature/Discharge rate
| Battery bank rated capacity | 0
| Selected battery nominal voltage |  | VDC
| Selected battery rated capacity |  | Ah
| Number of batteries in series | 0
| Number of battery strings in parallel | 0 | #DIV/0!
| Total number of batteries | 0
| Actual battery bank rated capacity | 0 | Ah
| Load Fraction | 0.75
| Average daily depth of discharge | 0
|  | 0 | %